## Sheet1
Worksheet for Designing a Solar System Based on Power Consumption Input fields in Grey
Daily Power Consumption Analysis | [5 empty] | Solar Power Requirement Analysis (Full Sun) |  | At Anchor | On Passage
[6 empty] | Average Hours of Sun per Day | 5 | *3*
Appliance | Amps | Hours | Hours | Daily AH *1* | Daily AH | Battery Charge Inefficiency Factor | 1.2 | *4*
DC |  | At Anchor | On Passage | At Anchor | On Passage | Watts of Solar to Replenish Battery Bank Daily |  | 254.76 | 551.472
Refrigeration | 5 | 10 | 10 | 50 | 50
Radar | 4 |  | 4 | 0 | 16 | Solar System Design Analysis (MPPT Controller)
Computer - Laptop | 4 | 1 | 10 | 4 | 40 | Capacity of Each Solar Panel (Watts) | 130
Autopilot | 4 |  | 10 | 0 | 40 | Number of Solar Panels Required |  | 2.1774 | 4.7134
Cabin Lights (LED) | 1 | 4 |  | 4 | 0 | Number of Solar Panels Installed | 3
Nav/Anchor Lights | 0.2 | 10 | 10 | 2 | 2 | Minimum Capacity of Solar Controller (Amps) | 30
Stereo | 1 | 3 | 3 | 3 | 3
VHF Radio | 0.5 | 10 | 10 | 5 | 5 | Daily Useable Solar Power in Full Sun (Watt Hrs) | 1755
Instruments | 1 |  | 8 | 0 | 8 | Daily Power Drawn from Battery Bank (Watt Hrs) |  | 1061.5 | 2297.8
Pressure Water | 6 | 0.25 | 0.1 | 1.5 | 0.6 | Excess or (Deficit) of Power (Watt Hrs) |  | 693.5 | -542.8
Phone Charger | 1 | 2 | 2 | 2 | 2
Other |  |  |  | 0 | 0 | Factor for Cloudy Days
Other |  |  |  | 0 | 0 | Solar Efficiency on Cloudy Days (percentage) | 30% | *5*
Total Amp Hours |  |  |  | 71.5 | 166.6 | Solar Power Generated on a Cloudy Day | 526.5
[6 empty] | Power Drawn from Batteries on a Cloudy Day (Wh) |  | 535 | 1771.3
AC - Equipment powred by an Inverter (Watts) | [5 empty] | Number of Continuous Cloudy Days | 2
Microwave (Watts) | 1100 | 0.1 | 0.1 | 10.1538 | 10.1538 | Sunny Days to Make Up Battery Draw Down |  | 1.5429 | 0
Other |  |  |  | 0 | 0
Other |  |  |  | 0 | 0 | Battery Capacity Analysis |  | Amp Hrs | Amp Hrs
Windlass *2* |  |  |  | 0 | 0 |  |  | at Anchor | on Passage
Total Amp Hours |  |  |  | 10.1538 | 10.1538 | Scenario 1 - Based on Cloudy Days - with Solar
[6 empty] | Ah Drawn from Batteries on Cloudy Days |  | 82.3077 | 272.5077
Total Amp Hours Consumed per Day |  |  |  | 81.6538 | 176.7538 | % of Battery Capacity Useable | 50% | *6*
[6 empty] | Rated Battery Capacity Required (AH) |  | 164.6154 | 545.0154
Battery Charging Voltage |  |  | 13 |  |  | Rated Battery Capacity (Ah) | 120
[6 empty] | Number of Batteries Required (in parallel) |  | 1.3718 | 4.5418
Total Watt Hours Consumed per Day |  |  |  | 1061.5 | 2297.8
*1* AH - Amp Hours - Amps of current consumed in one hour | [5 empty] | Scenario 2 - Based on Days of Reserve Capacity (no solar)
*2* Windlass is often not considered because the engine alternator is running when used | [5 empty] | Number of Days of Reserve Battery Capacity | 2
*3* 5 hours avg. is a good estimate for horizontal panels, 7 for panels with tilt & rotate | [5 empty] | % of Battery Capacity Useable | 50%
See http://www.bigfrogmountain.com/SunHoursPerDay.html for hours in your area. | [5 empty] | Rated Battery Capacity Required (AH) |  | 326.6154 | 707.0154
*4* Charge efficiency factor - Lead Acid ≈ 1.2, AGM ≈ 1.1 , LiFePO4 ≈ 1.04 | [5 empty] | Rated Battery Capacity (Ah) | 120
*5* Solar efficiency - Partly cloudy ≈ 70%, Mostly cloudy ≈ 50%, Very cloudy ≈ 30% | [5 empty] | Number of Batteries Required (in parallel) |  | 2.7218 | 5.8918
*6* Useable battery capacity - Lead Acid ≈ 50%, AGM ≈ 60%, LiFePO4 ≈ 95%
Steps to use this worksheet | [5 empty] | Note: This methodology does not take into
1. Determine the average daily power consumption both at anchor and on passage. | [5 empty] | consideration power generation from other sources
2. Configure the solar system (battery and solar panel inefficiencies are considered). | [5 empty] | such as engine alternator, generator, wind generator, |  |  | Custom Marine Products
3. Modify the solar system configuration to accommodate anticipated cloudy days. | [5 empty] | fuel cell or shore power. |  |  | custommarineproducts.com
4. Analyze the capacity of the battery bank. | [8 empty] | info@custommarineproducts.com 248 705-8337

## Sheet2
Solar Panel Capacity (Watts) Calculation - 4 Scenarios
Scenarios
| A | B | C | D
Amp Hrs Consumed per Day | 30 | 82 | 82 | 146 | From Power Consumption analysis
Days at Anchor | 1 | 3 | 3 | 1
Amp Hrs Required | 30 | 246 | 246 | 146
Battery Bank Rated Amp Hrs. | 240 | 240 | 240 | 240 | Total Amp Hrs of battery bank
Battery Draw Down % | 0% | 40% | 0% | 0% | 50% Max draw, use 0% to determine full replacement of power used.
Battery Amps Drawn | 0 | 96 | 0 | 0
Amp Hr. Deficit | 30 | 150 | 246 | 146 | Amp Hrs needed - Battery amps drawn
Amp Hr. Deficit per Day | 30 | 50 | 82 | 146 | Amp Hr deficit / Days at Anchor
Watt Hr. Deficit per Day | #REF! | #REF! | #REF! | #REF! | Amp Hr. deficit * Battery charge voltage
Average Hours of Sun per Day | 5 | 5 | 5 | 5 | 5 typical for horizontal panels, 7 for pole mount
Watts per Day of Solar Req'd | #REF! | #REF! | #REF! | #REF! | Watt Hr Deficit/Avg Hrs per Day
With MPPT Controller
Watts of Solar Needed | #REF! | #REF! | #REF! | #REF! | Add 5% inefficiency factor
With PWM Controller
Solar Panel Voltage (Vmp) | 20 | 20 | 20 | 20 | Rated Panel Max voltage
Solar Panel Amps (Imp) | 6 | 10 | 16.4 | 29.2 | Amp Hr deficit per day / Avg Sun Hrs
Watts of Solar Needed | 120 | 200 | 328 | 584 | Vmp * Imp
Scenarios
A. On a mooring with refrigeration
B. 3 days at anchor supplement with 40% of battery capacity
C. 3 days at anchor with no battery supplement
D. All power from solar with max power usage
Custom Marine Products
custommarineproducts.com
info@custommarineproducts.com 248 705-8337
Determine your daily power consumption
Assess your battery capacity
Calculate solar capacity required
Select solar panel(s) and controller